Attic

Insulation - Is there enough insulation between ceiling joists?

Vents - Sufficient and unobstructed?

Living Areas

Air Leakage - Tape a foot of toilet paper to a pencil with paper hanging free.  Hold near windows and doorframes, window air-conditioning units, and electrical covers.  If paper moves, you may need weather-stripping, caulking, or storm windows.

Wall Insulation - Are the wall too cool to the touch on a cold day or too warm on a hot day?

Thermostat - Set at 68 degrees in winter (turn down 5 degrees more when sleeping), 78 in summer.

Drapes - During winter, open drapes and shades to let sunlight in.  Close at night.  During the summer, close drapes.

Unused Rooms - Close heating and cooling vents, doors in areas seldom used.

Use fans instead of air conditioning when possible.  Fans can also help circulate air when the air conditioning is on.

Fireplace

Close the damper when fireplace is not in use.

Glass doors keep heat from escaping up the chimney.

Kitchen

Refrigerator/Oven Seal - To test, close a dollar bill in the door.  If the bill moves with little resistance, the seal is bad.

Appliances - Use washers and dryers in the morning and late evening hours when energy requirements are lower.

Lights - Turn off lights when not used.  Install lower wattage and fluorescent light bulbs whenever possible.

Faucets do not drip.

Basement/Crawl Space

Heating/Cooling System - Clean or replace filters monthly.  Have unit serviced once a year.

Water Heater - Set temperatures no higher than 120 degrees.  Drain sediments 3-4 times a year.

Ducts/Pipes - Insulate hot water pipes as well as heating and cooling ducts.

Floors - If you have a crawl space under your house, install batt-type fiberglass insulation under floors.

Venting - Washer & dryer units should be vented directly to the outside.

Outside

Weather Stripping & Caulking - Caulk the cracks around windows, weather-strip around doors.

Windows - Storm windows and double-paned glass can reduce energy usage up to 15%.

Doors - Keep doors tightly closed on hot or cold days.

Storm Doors - Help insulate doors